## Sheet1
Master Toilet
Hack existing floor tiles(include 300mm upturn wall tiles)
Hack existing long bath
Removal of existing metal door frame
Supply and lay HDB approved waterproofing membrane
Supply & lay selected 300x300mm non-slip homogeneous floor tiles include 300mm upturn wall tiles
Install W.C./Basin/Heater
Supply and install adjustable louver panel window
Supply and install glass panel to block water splash
Install bathroom accessories
Construct 1 normal washing machine base
Re-run new electrical wiring for 1 heater point, 1 lighting point. Add 1 new double points (1 for Washing Machine/1 for Reservation)
Pipe: Supply & install stainless steel water inlet piping include PVC drainage piping
Door/frame: Supply & install 1 bi-fold door -c/w top & bottom track
Common Toilet
Hack existing floor tiles(include 300mm upturn wall tiles)
Supply and lay HDB approved waterproofing membrane
Supply & lay selected 300x300mm non-slip homogeneous floor tiles include 300mm upturn wall tiles
Install W.C. /Basin
Supply and install adjustable louver panel window
instal bathroom accessories
Re-run new electrical wiring, including 1 for heater and 1 lighting point
Pipe: Supply & install stainless steel water inlet piping include PVC drainage piping
Kitchen
Hack existing cabinet
Install Dish drainer without cabinet (fixed on the wall)
Box up sewage pipe
Install "I-Quartz" bottom cabinet with a Sink with back splash skirting at sink side, Without back splash skirting at gas burner side.
Re-run new electrical wiring for 1 lighting, 3 existing dobule points and 1 pointers.Change 1 pointers to 1 double points.
Supply & install Aluminium frame with glass sliding door at kitchen entrance - c/w top & bottom track (About 4ft(W) x 7ft(H)
Supply and install a stainless steel cover near gas burner
Repair 5 windows handle
Optional: hack and lay 300 * 300 mm floor tile
Optional: Patch wall tile after removing top cabinet if necessary
Living Room
Hack wall Display/Cabinet unit
Replace study room's glass door with normal wooden door
Balcony
Lay wooden tile ( 167cm * 265cm). Note:currently balcony floor is 7cm lower than living room's floor